Florentin Degbo

AI in Healthcare

Dr. Doreen Rosenstrauch

Assignment 4: Evaluating results from a diagnostic study

The artificial intelligence (AI)-based screening system for diabetic retinopathy diagnosis has become a widely used diagnostic tool in recent years. Diabetic retinopathy is a serious eye disease that can affect people with diabetes and may lead to vision loss if it is not detected early. The AI system uses retinal images obtained through a basic eye scan to identify cases of diabetic retinopathy. The AI system provides an automated assessment that helps clinicians determine whether a patient requires specialist referral without waiting for an ophthalmologist to manually evaluate images (Abràmoff et al., 2022).

The assessment of diagnostic test performance begins with evaluating test sensitivity and specificity. Sensitivity refers to the proportion of patients with the disease that a test correctly identifies. A test with high sensitivity reduces the chance of missing true cases. Specificity refers to the proportion of patients who do not have the disease correctly identified as not having the disease. A test with high specificity reduces the need for additional testing, which is often required when doctors suspect false-positive results. The autonomous AI systems that researchers studied for diabetic retinopathy detection achieved high sensitivity and specificity, successfully identifying disease cases while minimizing false-positive results (Abràmoff et al., 2022; Liu et al., 2023).

The existence of imperfect tests establishes that tests cannot achieve complete accuracy. AI systems can produce false-positive results that indicate nonexistent disease or false-negative results that overlook actual disease cases. Errors arise when image quality is insufficient, when patients exhibit unusual retinal patterns, or when model training is based on insufficient data. The research results show that AI diagnostic tools require external validation to confirm their effectiveness across multiple patient groups (Liu et al., 2023).

This test benefits diabetic patients who lack regular access to ophthalmologists by providing essential eye care. The system enables primary care clinics to conduct screening activities, resulting in improved early detection and prevention of complications. The AI-based diagnostic test provides healthcare systems with valuable benefits, according to my evaluation. The system increases accessibility to screening processes while enabling faster treatment and shorter waiting periods for medical care. The system requires clinical supervision to maintain patient safety and equitable access to healthcare services for all population groups.

References

Abràmoff, M. D., Lavin, P. T., Birch, M., Shah, N., & Folk, J. C. (2022). Pivotal trial of an autonomous AI-based diagnostic system for detection of diabetic retinopathy. npj Digital Medicine, 5, 39. https://www.nature.com/articles/s41746-022-00571-7

Liu, X., Rivera, S. C., Moher, D., Calvert, M. J., & Denniston, A. K. (2023). Reporting guidelines for clinical trials evaluating artificial intelligence interventions in healthcare. Nature Medicine, 29, 23–27. https://www.nature.com/articles/s41591-022-01929-3